## Slide 1: Transmission Electron Microscopy
Historical motivation, techniques and applications

## Slide 2
1873 – Ernst Abbe diffraction limit
1927 – De Broglie hypothesis
1932 – Research group at Technical University of Berlin and Ernst Ruska
Historical motivation

## Slide 3: Other ways to cheat the diffraction limit
Far field techniques
Near field techniques
A figure showing the resolution improvement between traditional confocal microscopy and stimulated emission depletion (STED) microscopy. Cells were stained with 647-phalloidin to show actin filaments and the images were taken on a Leica SP5 2P STED microscope. FWHM - Full width at half maximum

## Slide 5
Mass-thickness contrast
Diffraction contrast
Animal cell stained with Osmium, targeting chromatin

## Slide 6
Phase contrast and HRTEM
HRTEM image of lead crystal between two crystals of aluminium

## Slide 7
Camera equation:
Diffraction
SAD
CBED